## Slide 1: Vapor Compression – Chiller system performance Analysis
Renewable Energy Heat
Silvia Caballero, Ritu Ritu
01.02.2024

## Slide 2: Content
Motivation & objective
Demand
System configuration
Results & Conclusion
Discussion

## Slide 3: Motivation
Objective
Modelling of DX16TC vapor compression chiller
Performance analysis
Temperatures have risen across various Colombian cities due to increasing climate changes leading to increased use of cooling system
Need for energy efficient air conditioner and refrigeration systems

## Slide 4: Location
Data Source: https://www.climatestotravel.com/climate/colombia
Seite 4
01.02.2024
Monthly average temperature for Barranquilla Colombia
Location:
Barranquilla – Colombia
Amb Temp= 32°C
Chart: Barranquilla Colombia - Annual temperature variation
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
min temp | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 22 | 22
mean temp | 28.5 | 28.5 | 28.5 | 28 | 28 | 29 | 29 | 29.5 | 29.5 | 28.5 | 27 | 27.5
max temp | 34 | 34 | 34 | 33 | 34 | 35 | 35 | 36 | 36 | 34 | 32 | 33

## Slide 5: Definition of the system and demand
Seite 4
01.02.2024
Vapor Compression Chiller system for space cooling
Office area = 60 m²
Capacity Needed = 3 TR = 36.000 Btu/h
Temp demand = 23 °C

## Slide 6: System configuration
Manual/datasheet:
REFEENCE: DATA SHEET High Efficiency, Communicating, Split System Air Conditioner DAIKIN DX16TC

## Slide 7: System configuration
Parameters:
Fluid : R410a
Compressor efficiency = 0.8
Vapor compression chiller - DAIKIN
REFERENCE: DATA SHEET High Efficiency, Communicating, Split System Air Conditioner DAIKIN DX16TC
source: https://advensol.ie/services/heat-pumps.html

## Slide 8: System configuration
Evaporation Temp = 3°C
Condensation Temp = 42°C

## Slide 9: Results & Conclusion
1
2
3
4

## Slide 10: Results & Conclusion
COP = 4,22

## Slide 11: Results & Conclusion

## Slide 12: Results & Conclusion
EER – Datasheet = 16
EER – System = 14,39

## Slide 13: Discussion
As the evaporator temperature increases, the COP increases. We are interested in having the highest evaporator temperature possible in order to have better performance (COP).
As condensation temperature increases, the COP decreases. We are interested in having the lowest condenser temperature possible in order to have better performance (COP).
In conclusion, having the smaller delta temperature between the evaporator temperature and the condenser temperature (DT=Tcond-Tevap); The performance of the system (COP) is higher.
Cooling systems are related to EER instead of the COP; which refers to the capacity of the system in tons of refrigeration.

## Slide 14: Thank you.
Questions?